# Part 1 General

# Section Includes

## Vivid Direct Glaze Door Transom complete with glazing, grilles-between-the-glass, simulated divided lites, standard or specified anchors, trim, accessories and attachments

  - Construction Specification Institute (CSI) MasterFormat Numbers and Titles

- Section 01 33 00 – Submittal Procedures: Shop Drawings, Product Data, and Samples

- Section 01 62 00 – Product Options

- Section 01 25 13 – Product Substitution Procedures

- Section 01 65 00 – Product Delivery Requirements

- Section 01 66 00 – Product Storage and Handling Requirements

- Section 01 71 00 – Examination and Preparation

- Section 01 73 00 - Execution

- Section 01 74 00 – Cleaning and Waste Management

- Section 01 75 00 – Starting and Adjusting

- Section 01 76 00 – Protecting Installed Construction

- Section 06 22 00 – Millwork: Wood trim other than furnished by door and frame manufacturer

- Section 07 92 00 – Joint Sealants: Sill sealant and perimeter caulking

- Section 08 71 00 – Door Hardware: Hardware other than furnished by door and frame manufacturer

- Section 09 90 00 – Paints and Coatings: Paint and stain other than finish

  - References

## ASTM, International:

- E283: Standard Test Method for Determining Rate of Air Leakage through Exterior Windows, Skylights, Curtain Walls, and Doors Under Specified Pressure Differences Across the Specimen

- E330: Standard Test Method for Structural Performance of Exterior Windows, Doors, Skylights, and Curtain Walls by Uniform Static Air Pressure Difference

- E547: Standard Test Method for Water Penetration of Exterior Windows, Skylights, Doors, and Curtain Walls, by Cyclic Air Pressure Difference

- E90: Standard Test Method for Laboratory Measurement of Airborne Sound Transmission Loss of Building Partitions and Elements

- E2190: Standard Specification for Insulating Glass Unit Performance and Evaluation

- C1036: Standard Specification for Flat Glass

- E2112: Standard Practice for Installation of Exterior Windows, Doors, and Skylights

- North American Fenestration Standard (NAFS) - American Architectural Manufacturer’s Association/Window and Door Manufacturer’s Association/Canadian Standards Association (AAMA/WDMA/CSA 101/I.S.2/A440):

- AAMA/WDMA/CSA 101/I.S.2/A440-08: NAFS: North American Fenestration, Standard/Specification for windows, doors, and skylights

- AAMA/WDMA/CSA 101/I.S.2/A440-11: NAFS: North American Fenestration, Standard/Specification for windows, doors, and skylights

- Window and Door Manufacturers Association (WDMA)

- WDMA I.S.4: Industry Standard for Water Repellent Preservative Treatment for Millwork

- WDMA I.S.2: Hallmark Certification Program

- Insulating Glass Certification Council (IGCC) and Fenestration Glazing Industry Alliance (FGIA) Glass Products Council (GPC)

- Fenestration Glazing Industry Alliance (FGIA) – note: AAMA combined with IGMA and formed FGIA as of 08/01/2019

- AAMA 624: Voluntary Specification, Performance Requirements and Test Procedures for Organic Coatings on Fiber Reinforced Thermoset Profiles

- AAMA 2605: Voluntary Specification for High Performance Organic Coatings on Aluminum Extrusions and Panels

- National Fenestration Rating Council (NFRC):

- NFRC 101: Procedure for Determining Fenestration Product Thermal Properties

- NFRC 200: Procedure for Determining Solar Heat Gain Coefficients at Normal Incidence

- Window Covering

- WCMA A100.0: American National Standard for Safety of Window Covering Products

# Submittals

- Shop Drawings: Submit shop drawings under provision of CSI MasterFormat Section 01 33 00.

- Product Data: Submit product data for certified options under provision of CSI MasterFormat Section 01 33 00.  Product performance rating information may be provided via quote, performance rating summary (NFRC Data), or certified performance grade summary (WDMA Hallmark data).

- Samples:

### Submit corner section under provision of CSI MasterFormat Section 01 33 00.

### Specified performance and design requirements under provisions of CSI MasterFormat Section 01 33 00.

# Quality Assurance

## Code Requirements: consult local code for IBC [International Building Code] and IRC [International Residential Code] adoption year and pertinent revisions for information on:

### Egress, emergency escape and rescue requirements

### Basement window requirements

### Windows fall prevention and/or window opening control device requirements

# Delivery

## Comply with provisions of CSI MasterFormat Section 01 65 00

## Deliver in original packaging and protect from weather

# Storage and Handling

## Store window units in an upright position in a clean and dry storage area above ground to protect from weather under provision of CSI MasterFormat Section 01 66 00.

# Warranty

## This Limited Warranty applies to Infinity windows and doors purchased on or after the Effective Date from an authorized Infinity retailer and installed in the U.S.A. or Canada. “Limited Warranty” means and includes the Limited Lifetime Warranty and the 10/20 Limited Warranty.

## Windows shall be warranted to be free from defects in manufacturing, materials, and workmanship for a period of ten (10) years from the purchase date.

- Insulating glass shall be warranted against visible obstruction through the glass caused by a failure of the insulating glass air seal for a period of twenty (20) years from the date of the original purchase.

- Complete and current warranty information is available at infinitywindows.com/warranty. The following summary is subject to the terms, conditions, limitations, and exclusions set forth in the Infinity Windows and Doors Limited Warranty and Products in Coastal Environments Limited Warranty Suppose

# Part 2 Products

# Manufactured Units

## Description: Factory-assembled Vivid Direct Glaze Door Transom windows as manufactured by Marvin, Fargo, North Dakota.

# Frame Description

## Ultrex®, a fiberglass-reinforced pultrusion

## Exterior and Interior 0.082 inch (2 mm) thick

## Frame thickness: 1-29/32 inches (48 mm)

## Frame depth: 3-1/4 inches (83 mm)

# Glazing

## Select quality complying with ASTM C 1036. Insulating glass is manufactured and tested according to ASTM E 2190 and is IGCC certified. STC/OITC ratings are certified in accordance with ASTM E90.

## Glazing Method: 1 inch (25 mm) Insulating glass, Altitude adjusted

## Glass Type: Dual Pane: Low E1, Low E2, Low E3, Low E2/ERS, Low E3/ERS with Air or Argon Gas, Tempered, Tempered Obscure, Obscure, Laminate, Bronze Tint, Gray Tint, Green Tint

## Decorative glass options include Glue Chip, Rain, Reed, Narrow Reed, or Frost

### Decorative glass is not available with Low E1, Low E3/ERS STC/OITC, Laminate

### Rain, Reed, and Narrow Reed not available with SDL

### SDL available with Frost, annealed or tempered glass

### SDL available with Glue Chip, tempered glass required

## Glazing Seal: Glazing tape on interior, silicone bedding on exterior

## Glazing Options: Standard Glass, STC/OITC glass, or California Fire Glass (Annealed exterior and tempered interior glazing configuration).

# Finish

## Exterior: Ultrex with a cross-head extruded acrylic organic coating system. Meets AAMA 624 requirements.

### Exterior Colors: Stone White, Pebble Gray, Bronze, Ebony

## Interior: Ultrex with a cross-head extruded acrylic organic coating system. Meets AAMA 624 requirements.

### Interior Color: Stone White, Ebony

# Simulated Divides Lites (SDL):

## 7/8” (22mm) with internal aluminum spacer bars

## Interior bar: ABS (Acrylonitrile Butadiene Styrene) finish matching interior color.

## Exterior bar: Ultrex, finish to match exterior color

## Lite Cuts or Patterns:

### Rectangle

### Prairie cut

# Grilles-Between-the–Glass (GBG)

## 23/32 inch (18mm) contoured aluminum bar

## Exterior Finish: Stone White, Pebble Gray, Bronze, Ebony

## Interior Finish: Stone White and Ebony

## Lite Cuts or Patterns:

### Equal Rectangle Lite

### Prairie cut

# Accessories and Trim

## Installation Accessories: Package of installation hardware consisting of:

### 14 #8 x 2” Torx® truss head installation screws

## Interior Frame, Installation and Mulling Accessories:

### Mull Spacer

### Nailing fin jamb

### Nailing fin drip cap

### Nailing fin corner gaskets

### Exterior mull cover

### Mulling pin

### Interior mull cover

### Mulling bracket

## Exterior Casing:

### Non-integral to the unit

### Field applied only

### Fastened to the exterior wall with barb and kerf:

### 2” (51) brick mould casing available as header and jamb surround. Extends 1 11/16” (43) from frame.

### 3 ½” (89) flat casing. Extends 3 3/16” (81) from frame.

### Also available with 2” (50) ranch style header overhang.

### Color selection may optionally differ from the exterior color selection of the door frame.

#### Part 3 Execution

# Examination

## Verification of Condition: Before installation, verify openings are plumb, square and of proper dimensions as required in CSI MasterFormat Section 01 71 00. Report frame defects or unsuitable conditions to the General Contractor before proceeding.

## Acceptance of Condition: Beginning installation confirms acceptance of existing conditions.

# Installation

## Comply with CSI MasterFormat Section 01 73 00.

## Assemble and install window/door unit(s) according to manufacturer’s instruction and review shop drawing.

## Install sealant and related backing materials at perimeter of unit or assembly in accordance with CSI MasterFormat Section 07 92 00 Joint Sealants.

## Install accessory items as required.

# Field Quality Control

## Remove visible labels and adhesive residue according to the manufacturer’s instructions.

## Unless otherwise specified, air leakage resistance tests shall be conducted at a uniform static pressure of 75 Pa (~1.57 psf). The maximum allowable rate of air leakage shall not exceed 2.3 L/sm2 (~0.45 cfm/ft2).

## Unless otherwise specified, water penetration resistance testing shall be conducted per AAMA 502 and ASTM E1105 at 2/3 of the fenestration products design pressure (DP) rating using “Procedure B” – cyclic static air pressure difference. Water penetration shall be defined in accordance with the test method(s) applied.

# Cleaning

## Remove visible labels and adhesive residue according to manufacturer’s instruction.

## Leave windows and glass in a clean condition. Final cleaning as required in CSI MasterFormat Section 01 74 00.

# Protecting Installed Construction

## Comply with CSI MasterFormat Section 07 76 00.

## Protecting windows from damage by chemicals, solvents, paint or other construction operations that may cause damage.

End of Section